{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Sheet2"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet2","index":0,"n_rows":12,"n_cols":6,"rows_kept":12,"merged":[[0,0,0,5]],"flags":["formulas_cached_only"]}
["广州中科检测技术服务有限公司仪器设备采购清单"]
["编号","仪器名称","数量","单位","关键配置","备注"]
[1,"气相色谱质谱仪",1,"台","90位以上顶空进样器;带UPS电源和100位以上自动进样器"]
[2,"气相色谱质谱仪",1,"台","带UPS电源和100位以上自动进样器"]
[3,"原子吸收光度计",1,"台","石墨炉火焰一体或石墨炉火焰分体式"]
[4,"液相色谱仪",2,"台","DAD+荧光检测器；DAD"]
[5,"离子色谱自动进样器",1,"台","36位自动进样器"]
[6,"紫外分光光度计",1,"台","200nm-1400nm"]
[7,"气相色谱仪",1,"台","ECD、FID进样器；            带100位以上自动进样器"]
[8,"电感耦合等离子体发射光谱仪",1,"台","双向观测"]
[9,"微波消解仪",1,"台","40位以上"]
[10,"纯水机",1,"台","纯水8-10L/H,超纯水1-2L/min,水箱50L以上"]